## Slide 1
Proposal for DC-NDR in Sify’s SAP Cloud Mahindra & Mahindra
January ‘21

## Slide 2: AGENDA
Executive summary
Understanding of current SAP infrastructure
Design and Architecting right choice of Sify Enterprise Cloud platform
NDR & BCP Requirements
Enterprise Security Architecture
Migration approach and plan
END-TO-END TECHNICAL MANAGEMENT – BASIS SUPPORT, MANAGED SERVICES
WHY SIFY ?
2

## Slide 3: Executive summary
Mahindra & Mahindra Ltd. (M&M) currently has a large SAP productive landscape to support their key business functions in their Automotive, Farm Equipment and few other group companies. The core application is SAP S/4 HANA 1709 of 12TB database with other surround systems like SAP SRM, SCM, BW, BO, EP, Fiori, etc. The entire SAP Infrastructure is hosted on premise at their MITC office along with a NDR set up 1 km away at Kandivali with near real-time replication.
As a part of their strategic direction to move to cloud, M&M intends to migrate and deploy their entire SAP infrastructure in DC and NDR out of a cloud platform.
Sify being a Certified provider of SAP cloud platform is keen to partner with M&M to design and architect the desired cloud infrastructure for hosting M&M’s SAP DC and NDR. Sify with its rich experience in SAP migrations will migrate all M&M’s SAP systems to Sify’s cloud platform and provide end-to-end Managed Services, Security Services and Basis Support.
Sify’s solution described in detail in this document consists of DC and DR located out of Sify’s Data Centers at Airoli and Rabale respectively connected by a high throughput low latency network which will be ideal for the DC – NDR near real time synchronization.

## Slide 4: Project Objectives
DC – NDR on SAP Cloud platform
Operations & Managed Services
Managed Network
Security Services
Basis Support
Seamless migration with minimum down time
Design & Implementation Of Scalable, Highly Available & Interoperable ICT Infra
End-to-end secure hosting of SAP Landscape
Near zero data loss solution with 2-way replication across DC-NDR for all SAP Production systems
Comprehensive & proactive O&M

## Slide 5: Project Scope
Establishment of DC and NDR
2 Way replication and Meeting RTO & RPO
Backup of the data
Network & Security
Enhance Network experience through Metro Network
SLA Base operation & managed Services
Objectives
1
4
3
2
5
6
Cloud Infrastructure Setup
DC, Near DR in Service model
Implement
Installation
Configuration
Cluster
Security
Detect
Protect
Respond
Telecom
MPLS
Internet
P2P
O&M
Manage
Operate
Basis Administration
Migration
Replication
Switchover
NDR
Sync replication
High availability
7

## Slide 6: High level solution approach
Understanding of current SAP landscape
Design and Architecting right choice of Sify Enterprise Cloud platform
NDR & BCP requirement (meeting RTO RPO objectives with high throughput low latency Sify MetroConnect)
Enterprise Security architecture
Migration approach with minimized downtime
SLA based Managed Services
  Guaranteed uptime of 99.9 % for DC – NDR landscape
  RPO RTO for DC –NDR setup is synchronized near real-time
  Basis Support and Administration for entire SAP landscape in DC- NDR

## Slide 7: Critical success factors & sify’s relevance
Critical Success Factor | Sify Experience & Relevance
RIGHT CHOICE OF HYBRID CLOUD PLATFORM | SAP Certified Provider of Cloud & Infrastructure Operations for more than 6 years Providing SAP Cloud Infrastructure to 40+ customers SAP Certified Provider of SAP HANA Operations
SAP MIGRATION EXPERIENCE | Rich experience of SAP Migrations across various cloud platforms SAP Certified Provider of Application Operations for SAP S/4 HANA
NDR & BCP EXPERIENCE | Offering Disaster Recovery-As-A-Service for SAP Cloud Infrastructure to many customers Processes comply to Industry standards prevalent for RPO and RTO
SINGLE POINT OF OWNERSHIP ACROSS ALL SUSTENANCE & MANAGED SERVICES | Matured SAP Practice with deep expertise in Migrations and SAP Application Management Supporting many customers for SAP Basis Administration across multiple platforms Adhere to industry standards like ISO 27001, ISO 9001 and ISO 20000 based service delivery
TCO OPTIMIZATION | Sify owns most of the Assets to drive best value and lower cost
SERVICE PROVIDER’S COMPETENCIES AND EXPERIENCE TO MANAGE DATA CONVERGENCE | Sify experiences in managing DC, Network, Hybrid Cloud & Multi Cloud solutions including Data Governance across people, processes and technologies to manage and protect company’s data assets on Cloud.

## Slide 8: Scope of work
DC & NDR CLOUD PROVSIONING
SAP MIGRATION
CLOUD & BASIS MANAGED SERVICES
Assessment of the current infrastructure
Requirement Finalisation for DC & NDR Cloud & Design validation
Implementation & configuration of scalable Sify Cloud
Configure virtual machines (VMs)
Data provisioning using storage architecture
Configure Network connectivity
Configure Security
Configure Backup
Provision Telecom Connectivity
Migration Planning
Logical Grouping of Applications for Migration
Configuration of Replication for SAP environments
Migration of all SAP Systems
Setup NDR for the Production SAP landscape
Setup Far DR for Production Environments
Management Platform to orchestrate, manage, automate provisioning, de-provisioning of cloud infrastructure consisting of VM’s, Storage, Backup, Network, Security
O/S Managed Services
VM OS patch management
Basis Support & Administration
Drills for NDR

## Slide 9
Understanding of current
SAP infrastructure

## Slide 10: Productive SAP applications
The SAP landscape consisting of following systems running on HP Superdome server, Lenovo and Huawei:
S4 HANA 1709
SAP SRM - Supplier Relationship Management
SAP SRM - Portal
SAP Enterprise Portal
SAP Web-dispatcher – EP
SAP Process Orchestration
SAP PI Web-dispatcher
SAP Business Object Enterprise
SAP SCM Portal
EWM Swaraj
SAP BODS
SAP IBP – HCIDS
SAP SCM Portal
SAP GRC Access Control
SAP SOLUTION MANAGER
SAP BW - Business Warehouse
SAP Fiori
SAP Web-dispatcher - FIORI
SAP ADS
SAP DBM - Dealer Business Management
SAP ERP SLO
SAP NLS
SAP DMS
SAP Digital Signature
SAP Supply chain APO
+ HSM Appliance

## Slide 11: Present SAP Landscape
S.No | Description | Quantity
1 | Number of Virtual Instances | 102
2 | Operating System | SUSE – 90 Window-12
3 | 38 Database Instances | HANA -12 Non HANA-17
S.No | Description | Quantity
1 | Number of Virtual Instances | 75
2 | Operating System | SUSE – 70 Window-5
4 | 23 Database Instances | HANA-10 Non HANA - 4
Average Data growth per day 20GB
Peak Working hours are 8 am to 8 pm
Backup is done as a D-D-T mechanism with 7day retention
2 restore drills per year
Far DR in Chennai
DC – MITC
NDR – Kandivali Plant ( 1 KM Range )

## Slide 12
Design and Architecting right choice of Sify Enterprise Cloud platform

## Slide 13: solution design considerations
Scalability
Sify Enterprise Cloud provides scalability to provide continuous growth to meet the requirements and demand coming in for applications.
Computational power within one operating environment has been virtualized and supports vertical scaling also horizontal scalability (leveraging multiple systems to work together on a common problem in parallel) is supported.
Availability
Interoperability
Manageability
Clustering has been the mainstay for ensuring availability at all times.
Affinity rules and high availability rules are created in resource pool
Separate cluster will be configured for database workloads and SAP Apps & NON-SAP Workloads.
Centralized management by Sify CI Management Portal.
Centralized Resource Monitoring.
Interoperability is achieved using multi-OEM environment.
Multiple OEM Operating systems and Storage interact seamlessly with each other and support the open architecture solutions.

## Slide 14
Key Design Considerations
TIER-III/TIA942 Certified Facilities
High-Availability
Scalability
Interoperability
Security
Managed Network
NDR Solution
Simplified Management
Continuous Replication to meet RTO and RPO
Reduced Infrastructure footprint
24x7 Operations to meet SLA
Highlights of Proposed Solution
DC and NDR Certified Facilities
High-availability in design
Scalable Architecture
Interoperable solution based on open architecture
Secure by design
NDR Simplified Management
No disruption in existing Data center to provide minimum downtime
Virtualization is proposed to reduce footprint
Comprehensive 24x7 Operations
key design considerations & highlights

## Slide 15: Proposed DATA CENTERs
Site address:
Sify Technologies Limited,
Reliable Plaza, K10 Thane Belapur Road, Navi Mumbai -400710.
Site address:
Sify Technologies Limited,
Plot No. R-847, 1/, T.T.C. Industrial Area, MIDC Industrial Area, Sector 2, Rabale, Navi Mumbai
DC - Airoli, Navi Mumbai
NDR- DC Rabale, Navi Mumbai
DC facilities are Tier 3+ compliant
DC – NDR within 5 to 10 KM distance

## Slide 16: Add diagram for Airoli – Rabale Metro cluster – AMIT kataria

## Slide 17: COMPUTE/STORAGE/BACKUP/NDRM - Solution Summary
Requirement
Installation & Configuration of Compute Solution
Installation & Configuration of Storage Solution
NDR Management Solution
Installation & Configuration of Backup Solution
Data replication between DC, NDR
Proposed Solution
Key Technologies
Solution Highlights
Proposed Scalable infra
Proposed enterprise grade storage fabric for Backup in DC & NDR
Proposed Native tool for replication to NDR
Proposed enterprise Backup Solution
Virtual Environment in DC & NDR with VMware
Integrated Compute/Servers/Network
Scalable at Each Layer
High Availability Configured at HA and application level
Near Disaster Recovery solution
Standardized Backup Solution with Primary DC

## Slide 18: NON-HANA and application servers SIZING for DC
Sizing | DC |  |  |  |  | 
 | Existing |  |  | Proposed |  | 
 | SAPS | Server | Total SAPS | SAPS | Server | Total SAPS
APP SERVER | 86,100 | 18 | 15,49,800 | 92,560 | 18 | 16,66,080
 | 1,15,000 | 1 | 1,15,000 | 1,22,410 | 1 | 1,22,410
NON HAHA DB | 87,570 | 5 | 4,37,850 | 92,560 | 5 | 4,62,800
Storage |  | SSD (TB) | 120 | SSD (TB) | 120 | 
 |  | SAS (TB) | 140 | SAS (TB) | 140 | 

## Slide 19: Infra configurations in DC : HANA and non-hana
VM VM VM VM
VM
Virtualized Application servers
(18 nodes)
32C (5218) / 384GB / 2 * 300GB HDD / 4 * 10G / 92560 SAPS
. . . . . . . .
NON HAHA DB
Physical (5 nodes)
32C (5218) / 128GB / 2 * 300GB HDD / 4 * 10G / 92560 SAPS (Production)
(8276L - 28 Core) / 224 Core / 12TB HANA TDi Server with OS (1 no.)
HAHA Production 01 Upgradable up to 24 TB
8260L - 24 Core) / 192 Core / 12TB HANA TDi Server with OS (1 no.)
HAHA NON-Production Upgradable up to 24 TB
8260L / 96 Core / 4.6TB HANA TDi Server (2 no.)
HANA SRM 01 HANA BW 01 Upgradable up to 6 TB
Storage 01
16G FC Fabric in HA
10/ 25 G Ethernet Fabric in HA
120 SSD for HANA Nodes
140 TB SAS (Effective) for Appls
2P / 40C (6248) / 384GB / 2 * 300GB / 4 * 10G / NO OS / 122410 SAPS
NON HANA application Server

## Slide 20: airoli DC - Fact Sheet
Building Features Floors in building: 7 Floors, Reinforced concrete structure building Total Area : 1,20,000 Sq ft Raised Floor area : 45,000 Sq ft Server Hall Location: 4th to 6th Floors Slab to Slab height: 3800mm Raised Floor Height: 700mm Power System Incoming supply: 110KV dedicated substation Total Designed Power Capacity: 10.5MVA Service Provider: MSEB UPS Configuration: N + N Battery Backup : 10 mins on full load Distribution: Dual Feed up to Racks Generator Configuration: N + 1 Fuel Storage : 24 hours on full load | Architectural & Building Structure Seismic Zone: Zone III Seismic Protection: Building strengthened as per IS 1893: 1984 criteria for earthquake resistant design of structure Structural Floor Loading : 1500 Kg/Sq mt for 5th & 6th Floor & 750 Kg/Sqmt for 4th Floor Freight Elevators: 2 Ton & 1 Ton Passenger Lifts : 2 numbers Perimeter Wall & Doors : 2 Hours Fire rated Cooling System Cooling System : DX Based machines CRAH Redundancy : N+1 Temperature : 22 +/- 2 deg C Humidity : 50 +/- 5 % RH Dust Control : Less than 5 Micron Integrated Building Management System Access Control : Multi layer access control system Video Surveillance : 24*7 for all critical areas with retention for 90 days Fire Detection : Addressable smoke detectors VESDA: Aspirating Smoke Detectors Fire Suppression : FM 200 used for Server Halls and Battery Rooms. Addressable Water leakage Detection Ultra sonic Rodent repellent system

## Slide 21
DC Network & Security Solution

## Slide 22: DC Network - Solution Summary
Requirement
Supply, Installation & Configuration & Management:
Redundant WAN Switches
Redundant Core / Server Farm Switches
Redundant Management Switches
Proposed Solution
Key Technology Partner
Solution Highlights
WAN Switches - 24x 1 Gig & 4x10 Gig Uplink
Core / Server Farm Switches - 48x 1/10/25Gig SFP+ & 6x40/100Gig QSFP Uplink
Management Switches – 24x 1Gig & 4x1Gig Uplink
Core to Servers Connectivity on 10Gig Fiber scalable to 25Gig
40 G Port Channel upgradable to 100Gig
Best of Breed proven technology
Single Central Management
Massive scalability
High Availability

## Slide 23: Security - Solution Summary
Requirement
Internet traffic filtering with SSL VPN
Protect and track activities of Admin users
Protect Servers from malicious attacks
Proposed Solution
Key Technologies
Solution Highlights
External firewall with UTM Features
SSL VPN
DDoS
PIM as a service
Anti-virus
Best of Breed proven technology
Scalable solution
High Available solution and no single point if failure
Defense in depth approach
Improved protection / Detection mechanism

## Slide 24: Proposed DC network architecture
Sify DC (Mumbai)
WAN ROUTERS
SIFY
INTERNET
CORE SWITCH
WAN SWITCH
Management
Switch
SAP HANA SERVERS
PERIMETER
FIREWALL
1 Gbps LAN Extension
250 Mbps
PRIVATE CLOUD
M&M Existing
DC
M&M Existing
NDR
M&M Existing FAR DR
NDR
SIFY Proposed NDR
NDR
500 Mbps
500 Mbps
SIFY
INTERNET
SIFY
P2P
SIFY
P2P
SIFY
P2P
500 Mbps
250 Mbps
500 Mbps
PIM

## Slide 25: Proposed dc switching architecture
CORE/ SERVER SWITCH
CORE/ SERVER SWITCH
10G Fiber Access Links
WAN SWITCH
WAN SWITCH
40/ 100G Port
Channel
10G Fiber Up Links
SIFY
INTERNET
SIFY
P2P
1G Copper Access inks
CORE/ SERVER SWITCH
CORE/ SERVER SWITCH
10G Fiber Access Links
WAN SWITCH
WAN SWITCH
10G Fiber Up Links
SIFY
INTERNET
SIFY
P2P
1G Copper Access inks
M&M NEW DC @ SIFY
M&M NEW NDR @ SIFY
1G Copper
LAN EXTENSION
40/ 100G Port
Channel

## Slide 26: M & M Cloud Infrastructure Security- Multilayer Defense
Network Security Group
Access Layer
DDOS
Network Layer
UTM
PIM
Platform Layer
Server Security
IPS
Anti-virus/ Anti-Bot
Protection
SSL-VPN

## Slide 27
NDR & BCP Requirements

## Slide 28: SIFY RECOMMENDED DEPLOYMENT OPTION WITH FEATURES & MERITS
SIFY CLOUD INFINITE DEPLOYMENT
FEATURES & MERITS
Highly available service
scaling up and scaling down of resources
High available network
High available security
On demand Storage
Best of Software deployed to provide cloud functionality
Faster Provisioning Time
Lower TCO for customer vis a vis Private Cloud

## Slide 29: DC – NDR replication for clustered environment
SD Flex 8P / 12TB compute block (Production)
SD Flex 8P/12TB compute block (Near DR)
HPE Serviceguard
For SAP HANA
Sync Replication
Sify DC#1 & Sify NDR#1
HPE Serviceguard
Cluster
For ECC CI
Server 01
Server 02
Storage 01
Storage 02
Smart Quorum for Full-proof Failure Fencing mechanism
Safesync System Replication to protect data integrity
Self-tuning HANA operation timeout monitoring
Decision logic for instance restarts vs takeover
Automation of failure detections, secondary takeovers and role reversals
HANA-aware easy deployment and administration
HPE Service guard Extension for SAP HANA System Replication

## Slide 30: Sify’s disaster recovery APPROACH for Non Clustered Systems
synchronous Replication with Log Replay
Initial Full Data Shipping
DC
DR
Operation mode log replay: Initial full data and redo log shipped to secondary

## Slide 31: DR Setup and Drill Approach for Non-Clustered Systems
DR Setup - Steps
Install the HANA DB (HANA)
Install the SAP Applications
Set up system replication on primary and Near DR systems.
Start the primary system.
Restore the DB Backup in the secondary System
Enable system replication on the primary system.
Register the secondary system with the primary system.
Start the secondary system and enable the replication
Rsysnc method of replication from Application server at DC to DR
RPO : 0
RTO : 20 Minutes.
DR Drill - Steps
During DR Drill , Stop Primary Application server and Primary DB.
Takeover to Secondary DB.
Testing by M&M team
Unregister Primary DB from Replication Setup.
Once Primary db is up to sync secondary db with Primary re-enable replication from secondary to Primary.
Stop the Secondary Application and Secondary DB.
Takeover to Primary DB from Secondary DB.
Deregister the Primary DB and start the application
Testing by Safari team on Primary DB
Enable System replication from Primary to Secondary
RPO: Recovery Point Objective (RPO) refers to the point in time in the past to which you will recover.
RTO: Recovery Time Objective (RTO) refers to the point in time in the future at

## Slide 32: NON-HANA and application servers SIZING for NDR
 | DC |  |  |  |  | 
 | Existing |  |  | Proposed |  | 
 | SAPS | Server | Total SAPS | SAPS | Server | Total SAPS
APP SERVER | 86100 | 14 | 1205400 | 92560 | 14 | 1295840
 | 115000 | 1 | 115000 | 122410 | 1 | 122410
NON HAHA DB | 87570 | 3 | 262710 | 92560 | 3 | 277680
Storage |  | SSD (TB) | 75 | SSD (TB) | 75 | 
 |  | SAS (TB) | 120 | SAS (TB) | 120 | 
Sizing

## Slide 33: NON-HANA and application servers SIZING for DC
Sizing | DC |  |  |  |  | 
 | Existing |  |  | Proposed |  | 
 | SAPS | Server | Total SAPS | SAPS | Server | Total SAPS
APP SERVER | 86100 | 14 | 1205400 | 92560 | 14 | 1295840
 | 115000 | 1 | 115000 | 122410 | 1 | 122410
NON HAHA DB | 87570 | 3 | 262710 | 92560 | 3 | 277680
Storage |  | SSD (TB) | 75 | SSD (TB) | 75 | 
 |  | SAS (TB) | 120 | SAS (TB) | 120 | 

## Slide 34: Infra configurations in NDR : HANA and non-hana
VM VM VM VM
VM
Virtualized Application servers
(14 nodes)
32C (5218) / 384GB / 2 * 300GB HDD / 4 * 10G / 92560 SAPS
. . . . . . . .
NON HAHA DB
Physical (3 nodes)
32C (5218) / 128GB / 2 * 300GB HDD / 4 * 10G / 92560 SAPS (Production)
(8276L - 28 Core) / 224 Core / 12TB HANA TDi Server with OS (1 no.)
HAHA Production 01 Upgradable up to 24 TB
8260L / 96 Core / 4.6TB HANA TDi Server (2 no.)
HANA SRM 01 HANA BW 01 Upgradable up to 6 TB
Storage 01
16G FC Fabric in HA
10/ 25 G Ethernet Fabric in HA
75 SSD for HANA Nodes
120 TB SAS (Effective) for Appls
2P / 40C (6248) / 384GB / 2 * 300GB / 4 * 10G / NO OS / 122410 SAPS
NON HANA application Server

## Slide 35: RABALE DC - Fact Sheet
Building Features Floors in building: 9 Floors, Reinforced concrete structure building Total Area : 202738 Sq ft Raised Floor area : 65000 Sq ft Server Hall Location: 1st to 6th Floors Slab to Slab height: 4350mm Raised Floor Height: 700mm Power System Incoming supply: 110KV dedicated substation Total Designed Power Capacity: 20MVA Service Provider: MSEB UPS Configuration: N + N Battery Backup : 10 mins on full load Distribution: Dual Feed up to Racks Generator Configuration: N + 1 Fuel Storage : 24 hours on full load | Architectural & Building Structure Seismic Zone: Zone III Seismic Protection: Building designed as per IS 456 WITH AN IMPORTANCE FACTOR OF 1.5 Structural Floor Loading : 1500 Kg/Sq mt Freight Elevators: 2 Ton & 1 Ton Passenger Lifts : 3 numbers Perimeter Wall & Doors : 2 Hours Fire rated Cooling System Chillers : Hybrid - Combination of Air cooled and Water Cooled Chillers and CRAC Units. CRAH Redundancy : N+2 Temperature : 22 +/- 2 deg C Humidity : 50 +/- 5 % RH Dust Control : Less than 5 Micron Integrated Building Management System Access Control : Multi layer access control system Video Surveillance : 24*7 for all critical areas with retention for 90 days Fire Detection : Addressable smoke detectors VESDA: Aspirating Smoke Detectors Fire Suppression : Novec© 1230 used for Server Halls and Battery Rooms. Addressable Water leakage Detection Ultra sonic Rodent repellent system

## Slide 36
WAN Solution

## Slide 37: WAN Network - Solution Summary
Requirement
Wide Area Network
Service Provider MPLS VPN (existing MPLS providers at DC)
Dual Internet Links at DC and Near DR
P2P Links for DC, DR, NDR Replication NW
LAN Extension between DC & Near DR
Proposed Solution
Key Technologies
Solution Highlights
New data center as additional Hub site to existing MPLS WAN
ILL Links at New DC and New Near DR
P2P Links for data replication
Bandwidth Provisioning:
  500Mbps P2P links
  1Gbps for LAN Extension
  250Mbps internet links
Monitoring, Management & Reports
SLA based Services
Highly redundant delivering 99.5% site availability
Low latency network
Scalability to support up to 10Gbps
Proximity to public cloud service providers
CPE Hardware
Network Provider

## Slide 38: P2P Network
DATA CENTER
SIFY AIROLI
SIFY RABALE
DR SITE
MRV CHENNAI
NDR SITE
MITC KANDIVALI
OLD DC
500Mbps
500Mbps
500Mbps
500Mbps
1Gbps
Point to Point Ethernet Circuits between
  500Mbps between Sify Airoli (DC) & MRV Chennai (DR)
  500Mbps between MITC Kandivali & Sify Airoli (DC)
  500Mbps between MITC Kandivali & Near DR
  500Mbps between MRV Chennai & Near DR
  1Gbps between Sify Airoli (DC) & Near DR

## Slide 39: Telecom Architecture – P2P Links
Sify MPLS
Network
VPE
VPE
VPE
VPE
CPE
CPE
CPE
CPE
SW
SW
Adva
Adva
ME
ME
ME
ME
DSW
DSW
DSW
DSW
Metro Access
Network
Metro Access
Network
Metro Access
Network
Metro Access
Network
MITC LAN
MRV LAN
Airoli DC LAN
New NDR LAN
1Gbps
1Gbps
2x500Mbps
2x500Mbps
2x500Mbps
2x500Mbps
CPE
Customer Premise Edge
VPE
VPN Provider Edge
ME
Metro Ethernet Switch
DSW
Distribution Switch
Adva
Adva NID
SW
Core Switch
MITC – Airoli DC, EVPL, 500Mbps
MITC – New Near DR, EVPL, 500Mbps
MRV – Airoli DC, EVPL, 500Mbps
MRV – New Near DR, EVPL, 500Mbps
Airoli DC – New Near DR, EPL, 1Gbps

## Slide 40: Telecom Architecture – Internet Links
Sify Internet
Network
IPE
IPE
CPE
CPE
ME
ME
DSW
DSW
Metro Access
Network
Metro Access
Network
Airoli DC LAN
New NDR LAN
1x250Mbps
1x250Mbps
CPE
Customer Premise Edge
IPE
Internet Provider Edge
ME
Metro Ethernet Switch
DSW
Distribution Switch
Airoli DC, Internet, 250Mbps
New Near DR, Internet, 250Mbps

## Slide 41: Engineered FOR high availability
Fiber routing diversity
Inbuilding diversity
Electronics redundancy
Rabale IDC
Airoli IDC

## Slide 42: Optical Network as a Platform
Scalability
80 Lambdas
Scalable from 10G to 200G per Lambda.
Lambda reuse through CDC ROADM
Reliability
3 Path protection for all Major Data centers
Optical ASON for all path protection and restoration.
Multi-service
Protocol Transparency provides media independence – FC/Ethernet/SDH
Equal capability nodes.
Futuristic
SDN managed providing Agility and On-demand services.
Seamless integration with other cities.

## Slide 43: Datacentre Interconnect : Opt DCI Product Features
Latency | Rabale | DAKC | CtrlS | Netmagic | GPX | LVSB
Airoli | <1ms | <1ms | <1ms | <1ms | <1ms | <2ms
Rabale |  | <1ms | <1ms | <1ms | <1ms | <2ms
DAKC |  |  | <1ms | <1ms | <1ms | <2ms
CtrlS |  |  |  | <1ms | <1ms | <2ms
NetMagic |  |  |  |  | <1ms | <1ms
GPX |  |  |  |  |  | <1ms
Network Performance
  Latency < 2msec
  Bit errors <10E-12
  Packet loss = 0
Premium Protected
  Ethernet – 2G, 4G, 6G, 8G, 10G, nx10G & 100G
  Fiber Channel – 1G, 2G, 4G, 8G & 10G.
  SDH – STM1, STM4,STM16, STM64/10G WAN PHY.
  Sub 50msec Protection
  Guaranteed restoration.
  Availability - 99.99%
Non-Premium service on Optical DCI
  Ethernet – 2G, 4G, 6G, 8G, 10G, nx10G & 100G
  Fiber Channel – 1G, 2G, 4G, 8G & 10G.
  SDH – STM1, STM4,STM16, STM64/10G WAN PHY.
  Guaranteed restoration.
  Availability - 99.9%
Linear service on Optical DCI
  Ethernet – 2G, 4G, 6G, 8G, 10G, nx10G & 100G
  Fiber Channel – 1G, 2G, 4G, 8G & 10G.
  SDH – STM1, STM4,STM16, STM64/10G WAN PHY.
  Availability - 99.5%

## Slide 44
Migration approach and plan

## Slide 45: MIGRATION APPROACH
Key Considerations
  Smooth transition to Cloud landscape
  Minimum Business disruption
Approach
  Sify will migrate Current systems to Cloud using Replication Method.
  Systems will be migrated landscape wise (e.g. All development in one phase, followed by Quality and then Production)
  During the Migration Sify will require 1 Downtime in each Phase which will be switchover period of around 4 hours.
  Before any Switchover UT, SIT and UAT will be perform jointly by Sify & M&M teams.
  NDR will be build within 72 hours once Production environments will be moved to Sify Cloud
  FAR DR will be configure at Bangalore location post DC and NDR is operational from Mumbai.

## Slide 46: MIGRATION APPROACH
Setup Development/Test/Production Application architecture in Sify DC Cloud (same DB as Current DB)
Start Replication of landscape from Current DC to Sify Cloud
DC Switchover to Sify’s DC and Change access of Test users to Sify cloud for 1st level testing
Testing of New Environment with Test Users and Note down the changes required during cutover
System wise cutover to New DC with logical grouping
DC Switchover to Sify Cloud with Change of User Access
Installation of Application at NDR and start replication from Sify DC Cloud to Sify NDR Cloud

## Slide 47: High level Activities
M&M
SIFY
Backup of Current System before starting Replication
Changes in Current Production system for Replication
M&M
User Acceptance Testing will be performed by M&M Business Users.
Provide Backup Plan to M&M to initiate Backups
Provide Parameters for Replications to M&M team
Installation of SAP systems at Sify DC
Enable Replication parameters at DR(Sify) site
Switchover from current DC to Sify DC
Installation of SAP in NDR location (SifyDC)
Enabling Replication between Sify DC and DR

## Slide 48: High level project plan
Sr.No. | Activity | W1 | W2 | W3 | W4 | W5 | W6 | W7 | W8 | W9 | W10 | W11 | W12 | W13 | W14 | W15 | W16 | W17 | W18 | W19 | W20 | W21 | W22 | W23 | W24 | W25 | W26 | W27 | W28 | W29 | W30 | W31 | W32 | W33 | W34 | W35 | W36 | W37
1 | Hardware Delivery |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
2 | Project Planning |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
3 | Installation/Allotment/Configuration of Hardware |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
4 | Installation of Base OS and OS prerequisites |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
5 | Installation of Application and DB at Sify's Environment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
6 | Configuration of Data Replication for HANA & Sybase systems |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
7 | Start SAP at Sify DC for testing |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
8 | Testing by Sify and M&M Team |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
9 | Reinitiate Replication between Curent DC and Sify's DC |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
10 | Switch over from Current DC to New DC |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
11 | UT, SIT and UAT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
12 | Change in the network to redirect users to Sify's DC |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
13 | System Release to Users |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
14 | Configuration of Near DR |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
15 | Testing for NDR |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
16 | Configuration of Far DR |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
17 | DR Drill |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | Sify Infra Team |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | Sify SAP Team |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
 | Sify and M&M Team |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Note:
Systems will be migrated landscape wise (e.g., all Development instances in one phase, followed by Quality and then Production)
During the Migration Sify will required 1 downtime in each Phase for the landscape being migrated. The switchover period is expected to be around 4 hours.

## Slide 49: Prerequisites
  Remote connectivity of M&M Ltd SAP systems ( VPN access or Public IP server to access the server )
  Windows Jump Server to connect the existing Customer On premise SAP Servers.
  Client to provide SAP, OS, DB User Credentials to connect the SAP Server(As per the Perquisite Sheet)
  S-user ID and Password for SAP service marketplace
  Need Production Server Downtime for SAP Migration
  DB team support required to enable replication parameters at DC site.
  Dedicated MPLS Link between M&M DC to Sify Cloud DC to Enable DB Replication Setup.

## Slide 50: ASSUMPTIONS
  Downtime window confirmation should be provided by M&M Ltd during production cutover.
  M&M Ltd will coordinate with third party for creating additional RFC Connectivity to other non SAP source systems (if any).
  System Backup will be scheduled only after migration of SAP Landscape.
  Any new changes during the migration will be considered as Change Request.
  Third Party integration Responsibility will be taken care from customer end.
  All required Licenses are in place.

## Slide 51: OUT OF SCOPE
  Any new development of Custom ABAP objects or Functional processes in SAP.
  Configuration/Upgrade of Peripheral devices, such as Printers, Faxes, Roll-out of SAPGUI on to workstations.
  Testing (post-migration) of any nature (regression or functional) is out of scope. (M&M Ltd will perform Unit Testing of SAP data post-migration)
  Creation/modification of Test Cases, Test Scripts.
  System backups during SAP Migration phase.
  Except SAP, any Third-party integration will be taken care from customer end.

## Slide 52: Risk Mitigation Plan
Risk | Impact | Risk Mitigation
Breakage of Link between two Data centers | High | During Data Replication period, continuous monitoring of Log shipping has to be planned. In case of Link Failure for longer duration additional Link has to be planned
DownTime Over Run | High | Trial Run is been plan for rehearsal.
Testing Time Exceeded | Medium | Project Plan has to clearly mention time line for UT, SIT and UAT
Change in Source System | High | Full Offline Backup is required before any critical change in source system.
HANA Version Change/Update during Implementation/Migration | Medium | HANA Patching and Upgrade has to be planned at the end of the migration/Implementation

## Slide 53
END-TO-END TECHNICAL MANAGEMENT – BASIS SUPPORT, MANAGED SERVICES

## Slide 54: Basis Support in Project Phase
Sify proposes comprehensive Basis Administration and HANA / Sybase/ MaxDB DB Management in project phase for systems are in Scope:
After Go-Live the following activities will be performed:
  Setting up NDR for the SAP landscape
  Reconfiguration of Solution Manager if required
Scope
BASIS support and administration of all deployed SAP systems in DC and NDR
Perform DR drills twice a year
Mandatory patch updates
Client refresh limited to 4 times per system per year. M&M needs to share system refresh schedule in advance.
Sify will provide 24x7 coverage for Basis support. Delivery is planned entirely from remote.
Out of Scope
SAP Technical and Functional upgrades and migrations
Database version upgrades

## Slide 55: Proactive management
Technical Performance Monitoring
Reporting & Dashboards
Audit, Security & Compliance
Predictive Resource Consumption
Cloud
Automation
Business Process Monitoring
Syslink Xandria
Not reliant on SAP tools only
Native & Custom Checks
Work with any SAP technology
Escalation Based Notifications
SLA Reporting
Landscape sync. Analysis
Predictive resource planning
Dashboards
Auto Reactions
Open API

## Slide 56: SAP SYSTEM monitoring
Agent
Agent
SAP Server
Agent
Operating System
Xandria Master Server
Gateway
HTTPS Proxy
HTTPS
Outbound
Notifications
Email
SMS
Dashboards
iOS App
Open APIs
Ticketing
Automation
Additional Monitoring
SaaS
Service Now
Public Cloud
Amazon Web Services
Microsoft Azure
Google Cloud Platform
Alibaba Cloud
Scripts & Programs

## Slide 57: BASIS AMS SUPPORT LEVEL
Severity Level | Response Time | Resolution Time | Severity Level Definitions | Service Level
1 (High) | 2 hours | 4 hours | If a function / module is not available or is very seriously impaired and the impact on business is severe; many end users are unable to perform their normal work. | 95%
2 (Medium) | 4 hours | 15 Business hours | There is no direct immediate impact on business. Work can continue with minor disruptions or loss of efficiency. Alternative ways of performing normal work are available | 95%
3 (Low) | 1 day | 24 Business hours | Non-critical error or a cosmetic change , a minor problem for which a permanent workaround is in place. This could however result in loss of productivity to the user. This is a non-critical requirement which disrupts neither the functional nor operational flow. | 90%
* SLAs are not applicable for Enhancements/Change Requests

## Slide 58: Sify’s cloud management platform (setup & integrate)
Provisioned, decommissioned, managed as single unit
Customize prebuilt / build from scratch
Choose cloud resources with simple clicks
Refer existing resources to build a solution topology
Specify parameters for a specific project
Reverse Engineer from an existing Deployment (sat Dev)
Adapt for higher levels (stating, production, volume testing)
Composed of cloud resources like VPC, Subnet, Instance & EIP as a single solution
Services Features

## Slide 59: Automation excellence
Service Desk integration
Automated action from predefined flow on events
Response action for CPU threshold violations
Automated restart of services on specific events
Scheduled trigger of action on events
Automated Ticket Routing
Workflow & Runbook based automation for predefined request categories
Pre-fetch & auto update tickets with high CPU/Memory consuming processes
CMDB Updates
Event Automation
Few reference for use case automated
Notes: David

## Slide 60: Automation excellence
Workflow automation
Run Book automation
Log rotation on systems and network devices
Message parsing on Active Directory & Microsoft Exchange Servers
Daily Health checks on Compute devices, Storage Systems & Databases
Configuration backup of SAN / LAN Switches & Firewalls
Active Directory User Management
Exchange Mailbox Management
Linux File deployment from SVN
DNS Records
Server Hardening
Few reference for use case automated
Notes: David

## Slide 61: Service reporting through ServiceNow
Unified view of IT
Pinpoint issues in IT
Dashboard of Service Availability
SLA Dashboard
Unified view of all services
Proven and Matured Player for Delivering on Managed Services Platform
Expand to other Infrastructure Devices and Applications
Enables from moving from Reactive support to Proactive
Industry Standard Proven Tool for Large customer base and Deployments
Excellence in Monitoring and Management – Scalable, Robust, and Ease of Mgmt.
Improved Visibility - Reducing MTTR (Mean Time To Resolve)
Better Integration across various industry recognized tools
Plug and Play with custom probes to monitor certain features
Enables Pay-As-You-Go Model

## Slide 62
WHY SIFY ?

## Slide 63: EXPERIENCE ADVANTAGE
500+
Datacenter services projects executed
300+
Datacenter Migration projects
80+
Platform Migration Projects
25+
IT Ops Transformation projects
230+
Enterprise Cloud clients
70+
Private cloud & DR clients
30+
CDN & Cloud Security customers

## Slide 64: PEOPLE ADVANTAGE
700+
DATA CENTER, CLOUD AND MANAGED SERVICES
1800+
NETWORK CENTRIC SERVICES
125+
SECURITY SERVICES
225+
APPLICATION SERVICES

## Slide 65: Partnership advantage
Technology Partners
Application Partners
Security Partners
IAAS / PAAS

## Slide 66: Sify-AWS Strategic Partnership
AWS Partner Network member enrolled and recognised as
Advanced Tier Consulting Partner
Channel Reseller
Direct Connect Partner
Only Partner in India who can offer Cloud adjacent datacenter to AWS cloud by virtue of AWS cloud being hosted in Sify’s Rabale.
One stop shop for Assess, Architect, Migrate, Manage & Secure plus other AWS Professional Services (Back-up, Disaster Recovery, Digital Services)
AWS + Sify Advantage
End to end AWS Integrated service coverage - Access-Architect-Migrate-Manage-and Secure
Best in breed Hybrid-Cloud Configuration through our AWS Cloud Adjacent Data-Center connected at a 10G+ Speed at less than 100 Microseconds
Sify provides unified, integrated, single pane of glass of management across their private IT and AWS IT
By virtue of being enrolled in Advanced Tier Consulting Track, Sify is a key partner of AWS providing the Advanced Managed services for AWS cloud integrated offerings
In-house Certified skilled resources on AWS Integrated Offerings covering the entire gamut of Platform/Infra, Direct-Connect, Cloud Front, SAP and Digital Services
One of the key AWS Direct Connect Provider in PAN India, Sify has a unique advantage of having the Direct-Connect as well as its own Metro-Cross Connect that provides connectivity at 10G+ speed

## Slide 67: Our Infrastructure & SERVICES ADVANTAGE
RELEVANCE TO DIGITAL ENTERPRISE
SIFY ASSETS
  10 Pan-India DCs with 70 MW capacity
  Roadmap to add 200 MW in next 4 years
Hosting for hyperscale operators
Centerpiece of the hybrid cloud
IT-enablement for distributed businesses
Supports Digital Transformation initiatives
Global and domestic IT outsourcing
Supports outcome-based services model
Internet growth from non-metros
Platform to move content to “edge”
Cost-effective terabit network scale
Interconnect Public and Private clouds
  Largest MPLS network (by connections)
  3100+ PoPs across 1600 towns in India
  “Cloud Connect” data superhighway
  48 on-net data centers
  Remote Operations Centers
  NOC, SOC, managed services
  Applications and solutions
  iTest, ForumNXT, eLearning, SAP, Oracle, App Modernization
Public / Private / Hybrid Clouds
Cost effective and pay-as-you-go model
  Enterprise and Hybrid Multi Cloud
  Enterprise Cloud grid fabric

## Slide 68: Rich migration experience of 6+ Years
On Premise --> On Premise
Successfully migrated 50+ SAP systems across all above scenarios
25+ migrations executed with re-platforming (heterogenous migration)
More than 10 migrations with simultaneous technical upgrades and updates
Experienced in complex Carve-outs
On Premise --> Sify InfinitSAP
Other Provider --> Sify InfinitSAP
Carve-outs
On Premise / Hosted --> AWS
Other Provider --> Sify InfinitSAP
Upgrades / Conversion to HANA with Migrations
Carve-outs

## Slide 69: WHY SIFY FOR SAP MIGRATION, INFRASTRUCTURE AND MANAGEMENT?
One stop shop for taking SAP to Cloud
Matured Delivery for Cloud Migrations
Invested in State of the art Tools and Automation
Trusted Cloud Advisor-choice of Cloud Infrastructure
Integrated play across Telecom, Cloud and SAP Services
Single Vendor for end-to-end Application Uptime SLA
Expertise in S/4 HANA Implementation and Conversion
Experienced in specialized Migrations like carve-out
Notes: And how we offer everything under one roof?
Because we have the tools and automation, we have the people skilled and certified, we have the processes qualified in various audits.
To summarise: huge installed base across all sizes and verticals
Our key Sales motions in 2020
Migration of SAP DC / DR to Sify CI
Conversion of ECC to S/4 HANA and upgrades
SAP Basis and Application Managed Services
S/4 HANA implementation
End to end delivery capability
Example of single point of ownership example Fieldfresh, Tata Sponge

## Slide 70
Data Center Transformation Services
2018
Network Transformation Services
2018
INDUSTRY RECOGNITIONS
The Economic Times
Iconic Brands 2020
Hybrid Multi Cloud
Leadership Recognition Cloud Transformation (2018)
Network Transformation (2019)
Major Player in
MarketScape for Cloud
Managed Services APeJ 2019
Sify in Challenger Quadrant in Gartner MQ for Managed Hybrid Cloud Hosting APAC 2017
Hosting Partner
Recognition in Market Guide for Public Cloud Managed and Professional Services Providers APAC 2020
Recognition in Critical Capabilities for Managed Hybrid Cloud Hosting APAC 2018
Recognition in Market Guide for Top Data Center Service Providers 2018
Recognition in Market Guide for Vulnerability Assessment and Penetration Testing Consulting Services in India 2019
Recognition as a notable vendor in MQ for Data Center Outsourcing and Hybrid Infrastructure Managed Services, Asia/Pacific 2019

## Slide 71: SIFY TEAM
Kamal Nath
Chief Executive Officer, SIFY Technologies
Kamal is a business transformation evangelist serving as the CEO since 2012. Under his leadership, Sify has grown multi fold in revenue and profitability by establishing Sify as a preferred end-to-end technology service provider to the enterprises, public sector and government segment. Prior to Sify, his fastpaced cross functional stint spanning 17 years at HCL Technologies, he led various transformational engagements with large enterprises, incubated new business services. Kamal is featured amongst the top CEO’s across his fraternity and is known for pioneering unique business models that have been widely accepted and appreciated by the industry.
Role in Project : Executive Sponsor
Tirthankar Mitra
Regional CEO West , SIFY Technologies
Tirthankar is a ICT Business Leader with over 28 years of diverse experience in providing transformation solutions across enterprises. His previous roles have been across a wide range of organizations - Mellanox, Cisco, AWS, Red Hat & Novell that allowed him to drive successful digital transformation projects, delivering customer satisfaction across cloud scale infrastructure, Next Gen Data Center, Open Source and Artificial Intelligence & Big Data Analytics.
Role in Project : Sales Sponsor

## Slide 72: SIFY TEAM
Subhasish Dhar
Head of Delivery – Application Services
Subhasish has 30 years of strong solution-focused consulting experience across multiple domains in Digital, IBM, SAP and Sify. Being with SAP India Consulting for more than 5 years followed by 13 years in SAP Global Delivery, Subhasish has delivered large and complex business solutions for customers across the globe in multiple industries.
Role in Project : Delivery Governance
Kunal Joshi
Lead Solution Architect SAP
Kunal has 20+ years of experience in SAP Solutioning with SAP Basis Background and Certifications on HANA, Oracle and SAP and has been with Sify for last 3+ years as the Lead of Sify’s SAP Solutioning team, he handles Solution Design, and Presales for all major SAP opportunities pan India.
Role in Project : Solution Design for SAP Infrastructure and Application Migration

## Slide 73: SIFY TEAM
Jitender D
Head of Cloud Engineering & Solutions
Jitender has total 19 years of experience and has been with Sify for last 4+ years. As the Head of Engineering and Solutions for Sify’s Cloud Management Platform, Server and Storage Infrastructure transformation, he handles the Core Engineering function that enables Sify to deliver end to end cloud and managed services solutions.
Role in Project : Cloud Infrastructure Engineering Design
Srinivas Anappindi
Delivery Head- DC IT Practice
Kunal has 20+ years of experience in SAP Solutioning with SAP Basis Background and Certifications on HANA, Oracle and SAP and has been with Sify for last 3+ years as the Lead of Sify’s SAP Solutioning team, he handles Solution Design, and Presales for all major SAP opportunities pan India.
Role in Project :

## Slide 74: SIFY TEAM
Prashant Pimpalekar
Head – SAP Practice & Delivery
Prashant has total 30 years of experience and has been with Sify for last 6.5 years. As the Head SAP Practice & Delivery, he is responsible for seamless delivery of SAP projects, developing competencies & sales/presales enablement. His technical articles are published in Dataquest, Communications Today & ERPITWorld.com.
Role in Project : Delivery of managed services (SAP Basis support)
Venkata Ramana R
Technical Lead of SAP BASIS/HANA
Venkata has total 15 years of experience in SAP BASIS with multiple SAP Certifications and has been with Sify for last 4+ years as the Lead of Sify’s SAP BASIS/HANA team, he handles the all SAP BASIS AMS accounts ,SAP Implementation , SAP workload migration and DR setup projects.
Role in Project : Lead SAP BASIS/HANA consultant

## Slide 75: SIFY TEAM
Riyaz Hussain
Head of Network & Security Engineering and Solutions
Riyaz has total 20+ years of experience and has been with Sify for last 3 years. As the Head of Network & Security Engineering and Solutions for Sify’s Cloud Platform, he directs the engineering function that enables Sify to deliver end to end cloud networking & security services solutions.
Role in Project : Cloud Network & Security Design
Samir Shirke
Strategic Account manager
Samir has around 18+ years of experience in Sales & Marketing and has been with Sify for last 10 years. As a part of Account Management, he has been associated with Large Manufacturing conglomerate like M&M Group , AB group and L&T group, specializes in working on Large Projects for Cloud Migration and Digital transformations for Enterprises.
Role in Project : Single Point of Contact for M&M Group

## Slide 77
Backup slides

## Slide 78: Scalable SAP S/4 HANA instances
Scale-up and scale-out
Superdome Flex compute nodes pool from 4 to 32 socket
Scale-up to 24 TB SAP HANA
Up to 288 TB scale-out for SAP HANA Business Warehouse